Project: 	Eastside Elem. School, 16 Classroom Addition / Bldg 1 Remodel

Date:	9/25/08

PLUMBING:

| DESCRIPTION | QTY |  |
| --- | --- | --- |
| WC1 & 2 Water Closet, Seat, & Valve | 24 |  |
| WC3 & 4 Water Closet, Seat, & Valve | 8 |  |
| L1 & L2 Lav. & Faucet | 24 |  |
| L1 & L2 Carrier | 24 |  |
| S1 Sink, Faucet, & Bubbler | 22 |  |
| SH1 Shower Trim & Valve | 1 |  |
| S2 Sink & Faucet | 2 |  |
| S2A Sink & Faucet | 1 |  |
| S3 Sink & Faucet | 3 |  |
| EDF1 & 2 Water Cooler | 6 |  |
| EDF1 & 2 Carrier | 6 |  |
| MS1 Mop Sink & Faucet | 4 |  |
| EWH1 Water Heater, Exp. Tank, & Shelf | 3 |  |
| Misc. Heater Acces. | 4 |  |
| EWH2 Water Heater, Exp. Tank, & Shelf | 1 |  |
| HB1 CP Hose Bibb & Breaker | 9 |  |
| HB2 RCF Hose Bibb & Breaker | 6 |  |
| Drains & Cleanouts | 27 |  |
| Sanitary Sewer piping (Lineal Feet) | 1580 |  |
| Water Piping (Lineal Feet) | 2000 |  |

HVAC:

DESCRIPTION		QTY

| Square Duct (LBS) | 18500 |
| --- | --- |
| Round Duct (LBS) | 4800 |
| Air Distribution, Louvers & dampers | 240 |
| Fans | 40 |
| Refrigerant piping / line sets & sleeves (Each) | 22 |
| Split Systems | 22 |
| Duct Insulation (sq ft) | 15000 |
| Test and Balance (LOT) | 1 |

Respectfully,

Jason Hibbard

Jason@tri-techmechanical.com